## Assembly
Sample-ID | Batch | assigned-genus-species | assigned-subspecies | expected_genome_size | #reads | avg_read_length | avg_read_depth | #-good-contigs | #-bad-contigs <300bp <30X | largest-contig | N50 | N90 | L50 | L90 | assembly size | total assembly size | assembly_size/total_assembly_size | assembly_size / expected_genome_size | N90/assembly_size (%) | mash_taxa-id | mash_assembly-id | mash_genus-species | Mash_subspecies | mash-ANI | checkm_marker-set | checkm-completeness | merqury_completeness | checkm-contamination | checkm-heterogeneity | merqury_QV
| Identifies the batch | Preliminary Assigned taxonomy - assigned via morphological and biochemical tests | Preliminary Assigned taxonomy - assigned via morphological and biochemical tests | genome sise of assigned-genus-species | [10 empty] | Sum of good contigs | Sun of all contigs
[7 empty] | >=30 | [9 empty] | >=95 | >=95 | [5 empty] | <=0.04% |  | >=97 | >=95% | <0.5
Note on C1: Matute, Daniella: Preliminary Assigned taxonomy - assigned via morphological and biochemical tests
Note on E1: Matute, Daniella: average size of the assinged-taxa genome
Note on I1: Matute, Daniella: Number of contigs > 300bp and have a minimum coverage of 30x. This filter was incorporated in the assembly command as seen in the command tab.
Note on J1: Matute, Daniella: contigs that did not meet the thresholds
Note on Q1: Matute, Daniella: Genome Size = Sum of good-contigs.
Note on R1: Matute, Daniella: the assembly size of the genome composed of good contigs over the assembly size of the genome composed of good and bad contigs. Produce a histogram and decide what would be a good benchmark. 95% is a good start
Note on S1: Matute, Daniella: The assembly_genome_size made of good contigs is divided by the expected genome size of the lab determined taxa. Produce a histogram and decide what would be a good benchmark. 90% is a good start .
Note on W1: Matute, Daniella: Dany has script to generate this information (genus and species) from the mash_assembly_id only shown if the mash ani is of appropriate value
Note on X1: Matute, Daniella: only shown is the mash-ani is of appropriate value
Note on Y1: Matute, Daniella: <=0.05
Note on AA1: Matute, Daniella: Produce a histogram and decide what would be a good benchmark. 95% is a good start
Note on AB1: Matute, Daniella: Produce a histogram and decide what would be a good benchmark. 95% is a good start . it compared the expected genome size and assembly size Consensus QV scores are Phred-scaled where QV = − 10 log10 E for a probability of error E at each base in the assembly.
Note on AC1: Matute, Daniella: <5%
Note on AD1: Matute, Daniella: <5%

## Hybrid
Sample-ID | Batch | ASM | assigned-genus-species | assigned-subspecies | expected_genome_size | #short reads | short avg_read_length | short avg_read_depth | long #reads | long avg_read_length | long avg_read_depth | #-good-contigs | #-bad-contigs <300bp <30X | largest-contig | N50 | N90 | L50 | L90 | assembly size | total assembly size | assembly_size/total_assembly_size | assembly_size / expected_genome_size | N90/assembly_size (%) | mash_taxa-id | mash_assembly-id | mash_genus-species | Mash_subspecies | mash-ANI | checkm_marker-set | checkm-completeness | merqury_completeness | checkm-contamination | checkm-heterogeneity | merqury_QV | grade
Hybrid_PoolSR_Pool346 | Hybrid Assembly | unicycler | Klebsiella pneumoniae | ssp pneumoniae | 5682322 | 2447332 | 98.3 | 82.01 | 231004 | 4365.7 | 170.3 | 23 | 3 | 3095604 | 3095604 | 287352 | 1 | 6 | 5745536 | 5887081 | 97.5957 | 101.1125 | 5.0013 | 1463164 | ASM2052568v1 | Klebsiella quasipneumoniae | subsp. similipneumoniae | 98.7365 | Klebsiella | 98.77 | 98.2206 | 0.66 | 9.09 | 46.9013 |  | #VALUE!
Hybrid_Javan_CCI02_Pool346 | Hybrid Assembly | unicycler | Klebsiella pneumoniae | ssp pneumoniae | 5682322 | [6 empty] | 16 | Na | 3471829 | 3471829 | 605443 | 1 | 3 | 5746846 |  |  | 101.1355 | 10.5352 | 1463164 | ASM2052568v1 | Klebsiella quasipneumoniae | subsp. similipneumoniae | 98.7553 | Klebsiella | 99.42 | 98.5572 | 0.66 | 9.09 | 46.3324 |  | #VALUE!
Hybrid_16859_Pool346 | Hybrid Assembly | unicycler | Klebsiella pneumoniae | ssp pneumoniae | 5682322 | 1238642 | 124.7 | 53.01 | 231004 | 231004 | 170.45 | 17 | 3 | 3420990 | 3420990 | 208866 | 1 | 5 | 5710092 | 5869761 | 97.2798 | 100.4887 | 3.6578 | 1463164 | ASM2052568v1 | Klebsiella quasipneumoniae | subsp. similipneumoniae | 98.7271 | Klebsiella | 98.68 | 97.2114 | 0.66 | 9.09 | 44.8294 |  | #VALUE!
Hybrid_Pool347_unicycler | Hybrid Assembly | unicycler | Klebsiella pneumoniae | ssp pneumoniae | 5682322 | na | na | na | 231004/638378 | 4365.7/4334.1 | 173.591 | 132 | 0 | 222935 | 71347 | 19109 | 25 | 84 | 5499245 | 5622109 | 97.8146 | 96.7781 | 0.34748 | [12 empty] | #VALUE!
Hybrid_Pool348_canu | Hybrid Assembly | canu | Klebsiella pneumoniae | ssp pneumoniae | 5682322 | na | na | na | 231004/638378 | 4365.7/4334.1 | 173.591 | 149 | 7 | 338514 | 72275 | 18058 | 22 | 86 | 5571455 | 5685318 | 97.9972 | 98.0489 | 0.32412 | [12 empty] | #VALUE!
Note on D1: Matute, Daniella: Preliminary Assigned taxonomy - assigned via morphological and biochemical tests
Note on F1: Matute, Daniella: average size of the assinged-taxa genome
Note on M1: Matute, Daniella: Number of contigs > 300bp and have a minimum coverage of 30x. This filter was incorporated in the assembly command as seen in the command tab.
Note on N1: Matute, Daniella: contigs that did not meet the thresholds
Note on U1: Matute, Daniella: Genome Size = Sum of good-contigs.
Note on V1: Matute, Daniella: the assembly size of the genome composed of good contigs over the assembly size of the genome composed of good and bad contigs. Produce a histogram and decide what would be a good benchmark. 95% is a good start
Note on W1: Matute, Daniella: The assembly_genome_size made of good contigs is divided by the expected genome size of the lab determined taxa. Produce a histogram and decide what would be a good benchmark. 90% is a good start .
Note on AA1: Matute, Daniella: Dany has script to generate this information (genus and species) from the mash_assembly_id only shown if the mash ani is of appropriate value
Note on AB1: Matute, Daniella: only shown is the mash-ani is of appropriate value
Note on AC1: Matute, Daniella: <=0.05
Note on AE1: Matute, Daniella: Produce a histogram and decide what would be a good benchmark. 95% is a good start
Note on AF1: Matute, Daniella: Produce a histogram and decide what would be a good benchmark. 95% is a good start . it compared the expected genome size and assembly size Consensus QV scores are Phred-scaled where QV = − 10 log10 E for a probability of error E at each base in the assembly.
Note on AG1: Matute, Daniella: <5%
Note on AH1: Matute, Daniella: <5%